## Slide 1
Partners in Gas Detection 2021

## Slide 2: Who is RKI?
RKI founded in 1994
Partner company: Riken Keiki
  Leader In Gas Detection & Sensor Technology for over 80 years
California Corporation
Average employee gas detection experience is 10 years

## Slide 3: Company Culture
Customer Service
Technical Service
Fast Delivery
Quality

## Slide 4: What is a Confined Space?
A confined space is a space that
is large enough for a person to enter and work
has limited or restricted means of entry and exit
is not designed for continuous occupancy

## Slide 5: Applicable Standard
OSHA Code of Federal Regulations 29
Section 1910.146
  Permit-required confined space
  Confined spaces in General Industry
Section 1926.1204
  Permit-required confined space
  Confined spaces in Construction

## Slide 6: Permit-Required
A permit-required confined space has at least one of the following characteristics
  contains or has the potential to contain a hazardous atmosphere
  contains a material that has the potential to engulf an entrant
  has an internal configuration such that an entrant could be trapped or asphyxiated
  contains any other recognized serious safety and health hazard

## Slide 7
Realities of Confined Space

## Slide 8: Types of Gases/Compounds
Combustibles
  Flammable gases and vapors
    Most are also toxic
    Organic compounds (HC’s)
“Toxics”
  H2S and CO most commonly monitored
    Inorganic compounds (Non-HC’s)
    Several inorganic compounds are also combustible
Oxygen Deficiency
Inert Gases
  Non-reactive gases
    Usually are N2, He, Ar

## Slide 9: Flammability Monitoring
Measured in % LEL
  LEL-Lower Explosion Limit
    Least amount of gas needed to support combustion
Described as:
  Flammability
  Combustibility
  LEL-Lower explosion limit
  LFL-lower flammable limit
  Boom!

## Slide 10: Oxygen Monitoring
Usually a decreasing measurement with a read-out in % volume.
This is a large measurement.

## Slide 11: Toxic Monitoring
Measured in parts per million (ppm)
Very low measurement
Toxic relates to health issues, not combustibility.
Chart: 
 | 209000 | 791000 | 25
25ppm Hydrogen Sulfide in normal atmosphere

## Slide 12: Recognize these?

## Slide 13: Product Family
Sample drawing instruments have internal pumps. Ideal for pre-entry work.
Diffusion style instruments detect what surrounds the sensor. Ideal for personal monitoring.
Wired products
Wireless Products

## Slide 14: GX-3R & GX-3R Pro
4-gas compliance model
GX-3R
Worlds smallest and lightest 4-gas monitor
Impact, water, & dust resistant
3-year Warranty
GX-3R Pro
  4-gas plus extra slot for toxic or IR sensor
  Wireless communication with mobile app
  Man-down and panic alarms
  Alkaline & Rechargeable options
5-gas pro model
2 Models—Depending on Need

## Slide 15: Competitor Comparison
Size & Weight
5.12” x 1.9” x 1.8”
8 ounces
4.1” x 2.3” x 1.4”
6.4 ounces
4.4” x 3.0” x 1.4”
7.9 ounces
2.2” x 2.55” x 1”
3.7 ounces
2.9” x 2.66” x 1.06”
4.6 ounces
4.4” x 2.4” x 1.2
6.3 ounces
4.7” x 2.7” x 1.2”
7.67 ounces
The GX-3R weighs about half of the average 4-gas detector!

## Slide 16: GX-3R
Field replaceable sensors and parts
Non-compliance indicator
Concussion resistant – drop tested at > 20ft.
IP-68 and IP-66 rated
3-year warranty
3 adjustable alarm levels
Datalogging
Low cost of ownership
The world’s smallest and lightest 4-gas monitor
Size matters in the “Breathing Zone!”
“The breathing zone is within a ten inch radius of the worker's nose and mouth. OSHA requires that worker exposure monitoring air samples be collected in the breathing zone. Air sampling filters may be attached to the collar or lapel.”

## Slide 17
GX-3R Pro
All of the great features of the GX-3R, plus:
An extra sensor slot for IR or toxic sensors
Man down and panic alarms
Full-dot LCD display with auto-rotate and auto-backlight
Bluetooth (BLE) connectivity
RK Link mobile app
RK Link app:
Text or Email alarm notifications with GPS location
Direct readings from instrument
Alarm indications
Configure instrument settings
Instrument locator
Available on iOS and Android

## Slide 18: No-Fee Lone Worker Solution
Text and / or Email alarm notifications with alarm data and GPS location of the worker.
Text and / or email up to 150 recipients
RK Link is a free download on iOS or Android.
No monthly service fees.
Stay connected with no fee!

## Slide 19: Alert Different Team Members Based on Alarm Type
EMS Group
Compliance / Maintenance

## Slide 20
Send Alerts By SMS or E-mail

## Slide 21: Alerts Include Alarm Data and GPS Location

## Slide 22
Automatically Send Compliance Notifications
Compliance / Maintenance

## Slide 23: Sensors The Heart of Every Instrument
We manufacture our own sensors
Our micro-sensors allow us to make the smallest gas detectors in the world
3-year warranty
New LEL sensor’s dual-filament design is silicon resistant
Lead-free EC tech gives O2 sensor 3-5 year lifespan
Dual sensor – 2 channels in one sensor slot
CO/H2S
Dual filament
LEL sensor
F1
F2
Dual Sensor
+ Si removal filter

## Slide 24: Sensor Options GX-3R and GX-3R Pro
3-year warranty on all GX-3R and GX-3R Pro Sensors!
GX-3R and GX-3R Pro | GX-3R Pro Only | Coming in 2022 (GX-3R Pro only)
CO/H2S | CO2 ppm (IR) | Cl2
LEL | CO2 % vol (IR) | 
O2 | HCN | 
H2S | NO2 | 
CO | PH3 | 
(-H2) CO | SO2 | 

## Slide 25: Attachable Pump and Cal Station
Accepts both GX-3R and GX-3R Pro
Bump Time: 10 seconds
Gas Consumption: 250 ml / min
Output: Internal memory / USB drive / LAN cable / USB Cable to PC
SDM-3R
Available for either GX-3R or GX-3R Pro
Flow rate: 500ml / min
Distance to draw: 50 feet
Operation time: 10h
Independent power supply
RP-3R
GX-3R & GX-3R Pro
RP-3R Sample Draw Pump
SDM-3R Calibration Station

## Slide 26: Stacking Up to the Competition
Feature | GX-3R | BW Clip4 | Multi Gas Clip Simple
Size and weight | Smallest and lightest | Larger and heavier | 
Sensor ranges | Better sensor ranges | Narrower sensor ranges | 
Alarm points | 3 adjustable alarm points | 2 alarm points | 
Warranty | 3 year warranty | 2 year warranty | 
Attachable sample draw pump | Available sample draw pump | No sample draw option | 
Cost of ownership | Lower cost of ownership | Disposable | 

## Slide 27: Stacking Up to the Competition
Feature | GX-3R | MSA Altair 4XR | ISC Ventis Pro 4
Price | Lower list price | Higher list price | 
Size and weight | Smaller and lighter | Larger and heavier | 
Replacement sensors | Less expensive | More Expensive | 
Alarm points | 3 adjustable alarm points | 2 alarm points | 
Durability | IP-66 AND IP-68 rating | Only IP-68 | 
Attachable sample draw | Available sample draw attachment | More expensive sample draw | 
Cost of ownership | Lower cost of ownership | Higher cost of ownership | 

## Slide 28: Stacking Up to the Competition
Feature | GX-3R Pro | BW Ultra (5-gas) | MSA Altair 5X | ISC Ventis Pro 5
Price | Lower list price | Higher list price |  | 
Size and weight | Smaller and lighter | Larger and Heavier |  | 
Sensor ranges | Better sensor ranges | Narrower sensor ranges |  | 
Sensor costs | Lower sensor costs | Higher sensors costs |  | 
Battery life | Longer battery life | Shorter Battery Life |  | 
Alarm points | 3 alarm points | 2 alarm points |  | 
Warranty | 3 Years – Instrument and Sensors | Instrument – 3 years, Sensors – 2 or 3 years, Battery – 2 years |  | Instrument-Lifetime, Sensors: 02/LEL/CO/H2S-4 years, all other 2

## Slide 29: Single Gas Monitors
Hands-free gas monitoring
4 gases available
Smallest LEL single gas available
2,000-3,000 battery life
Small, lightweight and durable
Datalogging
Overall warranty rate <5%
04 Series
03 Series
Hands-free toxic gas monitoring
  HCN, NH3, NO2, PH3, SO2, CO (-H2)
O2 / CO combo available
3,000 battery life
Small, lightweight and durable

## Slide 30: GX-2012 One Monitor – Four Functions
Confined Space Monitoring
Monitor LEL, O2, CO, H2S
Detects down to 100 ppm CH4
0-100% volume methane with 5th TC sensor
Auto-ranging (from % LEL to % volume)
Internal sample pump with 100’ sample range
Bar Hole Sampling
Line Purge Testing
Leak Investigation

## Slide 31: Stacking Up to the Competition
Feature | GX-2012 | BW GasAlertMax XT II
Battery options | Alkaline or rechargeable | Rechargeable only
Operating modes | Normal – Confined space Leak Check – ppm CH4 and CO surveying Line Purge – 100% vol CH4 Bar Hole – Timed underground CH4 sampling | One operating mode
Sensor slots | 5 sensor slots | 4 sensor slots
ppm/LEL/%vol auto-ranging | Auto-range readings from ppm → LEL → %vol* | LEL range only
Pump | 100’ max sample distance | 75’ max sample distance
*Requires optional TC sensor

## Slide 32
GX-6000
6-gas, sample draw with smart PID, IR & super toxics
VOC Monitoring
PID library of over 600 VOCs (10.6eV lamp)
Operates with 2 PID sensors for broad and specific monitoring
Accepts 10.6eV/10.0eV/11.7eV PID lamps
Robust photo ionization detector (PID)
Can be combined with other sensors to maximize capacity
Benzene specific pre-filter tube available

## Slide 33
FIRE INDUSTRY
Monitor low ppm levels of dangerous gases like NH3 or H2S commonly found in meth labs
Simultaneously monitor typical confined space hazards like LEL combustibles, O2 deficiency, CO & H2S
Find trace levels of flammables or HCN in arson investigation
Detect CO leaks or strange odors confidently
Man down alarm
GX-6000
6-gas, sample draw with smart PID, IR & super toxics

## Slide 34
GX-6000
6-gas, sample draw with smart PID, IR & super toxics
CONFINED SPACE ENTRY
Monitor LEL, O2, CO & H2S
Internal sample pump
Audible, visual and vibration alarms
Ideal for refinery applications
Man down alarm
Panic alarm
Optional sensors for toxic gases

## Slide 35
LEAK INVESTIGATION
Provides ppm detection of combustible gas
Leak check with changing blink/pulsing rate
    LEDs and alarm tones increase in frequency as gas concentration increases
Leak check mode displays both CO & combustible levels
Audible alarm silence
    Investigate leaks without alarming residents
Barhole mode for tracking leak migration
GX-6000
6-gas, sample draw with smart PID, IR & super toxics

## Slide 36
5 operating modes
Normal
Leak check
Inert
Bar hole
Snap Log
Monitor up to 6 Gases
H2S, CO, O2, LEL
2 smart sensor slots
  PID for VOC’s (10.0, 10.6 & 11.7 eV)
  IR for CH4, HC, & CO2
  EC for NH3, Cl2, HCN, NO2, & SO2
  Dual PID capability
PID library of more than 600 VOC’s
0-6,000 ppm/ 0-50,000 ppb ranges
Easily choose a target VOC
  User defined VOC list of 30
  Recently used VOC list last 8
LEL Protection mode
Shields LEL sensor from damaging VOC exposure
LCD display
Auto flip display
Peak bar graphs
Adjustable auto backlight
Customize order of gases
Single gas view with large font & auto sequence
Alarms
2 adjustable gas alarms per channel
Man Down alarm
4 alarm LED’s
Audible and vibration alarms
Trouble alarms for low flow, sensor connection, low battery, circuit error, & calibration
Features

## Slide 37
Weather & Dust Resistant
IP-67
Smallest 6 gas sample draw
Lightweight & Ergonomic
High impact rubber boot
Ergonomic design fits comfortable in hand
Interchangeable battery options
Lithium-ion pack operates 14 hours
  Complete recharge in 3 hours
Alkaline pack operates 8 hours
Internal Sample Pump
50’ sampling range
Custom Unit Identification
User & Station ID selection Menu
Assign multiple users to select within one instrument
9 Languages
English, Germany, Italian, French, Portuguese, Spanish, Japanese, Korean, Russian
Features

## Slide 38: SDM-6000 Docking Station
  Stand alone station (no PC required)
  Touch screen menu display
  Charge, Bump, Calibrate, and Alarm tests
  Save calibration, bump tests, alarm history and exposure data to an SD memory card or to a computer
  Automatically power on or off for scheduled maintenance
  Up to 3 ports for separate calibration gas cylinders
  Manage up to 10 instruments with one power source, calibration source, and computer
  Configure GX-6000 parameters
  SV-3 unit expands calibration ports up to 6 ports
  Easily connects to adjacent docks
  Automatically distributes power, calibration gas, and data once connected
  DIN Rail wall mount
  Local print out of calibration/bump and alarm test results

## Slide 39: PID Options – GX-6000
PID Lamps |  | Range | Accuracy
10.6 eV low | 600 VOC’s | 0-50,000 ppb | +/- 10% of reading, +/- 1 digit
10.6 eV high |  | 0-6,000 ppm | 
10.0 eV | Benzene specific | 0.1-50 ppm | 
 | 300 VOC’s | 0-100 ppm | 
11.7 eV | High- voltage lamp | 0-1,000 ppm | 
The GX-6000 is the only multi-gas monitor with simultaneous dual-PID capability
Long life 11.7 eV lamp
  Typical 9 to 12 month life!
  Monitor carbon tetrachloride, acrylonitrile, chloroform, methanol, refrigerants (R-143, R-132A), and more
Standard 4-gas sensor slots
Two PID / smart sensor slots
4 PID’s to choose from:

## Slide 40: Stacking Up to the Competition
Feature | GX-6000 | BW ultra (PID) | RAE Systems MultiRAE
Size and weight | Smaller and lighter | Larger and heavier | 
# of PID options | 4 PID options | 1 PID option | 
11.7 eV PID | 11.7 PID available | Not available | 
PID life | Longer PID life | Shorter PID life | 
Dual PID capable | Simultaneous dual PID | No | 
Benzene specific mode | Benzene specific mode | No | 
Leak check mode | Leak check mode | No | 
Bar hole mode | Bar hole mode | No | 
Sensor costs | Lower sensor costs | Higher sensor costs | 
Battery life | Longer battery life | Shorter battery life | 
Cost of ownership | Lower cost of ownership | Higher cost of ownership | 

## Slide 41: Stacking Up to the Competition
Feature | GX-6000 | Altair 4XR (PID) | Ventis Pro 5 (PID)
Size and weight | Smaller and lighter | Larger and heavier | 
# of PID options | 4 PID options | 1 PID option | 
11.7 eV PID | 11.7 PID available | Not available | 
PID life | Longer PID life | Shorter PID life | 
Dual PID capable | Simultaneous dual PID | No | 
Benzene specific mode | Benzene specific mode | No | 
Leak check mode | Leak check mode | No | 
Bar hole mode | Bar hole mode | No | 
Sensor costs | Lower sensor costs | Higher sensor costs | 
Battery life | Longer battery life | Shorter battery life | 
Cost of ownership | Lower cost of ownership | Higher cost of ownership | 

## Slide 42: Selling Gas Detection
Who to call
What to ask
Where to go

## Slide 43: Who To Call
Looking for the person in charge of the following:
  PPE (personal protective equipment)
  HSE or EHS (Health, Safety, & Environment or Environmental, Health, & Safety)
  Industrial Hygiene
  Safety
  Instrumentation shop
Always wear your gas monitor when visiting customers.

## Slide 44: What to ask?
What are you using for gas detection?
Do you use gas detection?
What do you use for confined space monitors?
Are you happy with your gas detection?
Who handles the gas detection here?
Can I see what you use for gas detection?
Who does your repairs of gas detection?
Do you have any failures?

## Slide 45: Products and Market
  RKI Products
    GX-3R & GX-3R Pro advantages:
      Smallest & lightest available
      Ideal for workers wearing monitors in the breathing zone for entire shifts
      Bluetooth connectivity and toxic sensors for GX-3R Pro
    GX-6000 advantages:
      6 Gas channels
      5 operating modes
      Benzene specific PID
      Smart sensors with toxic and PID options
Energy, Oil, & Gas Production & Transportation
Gases encountered
    Combustibles
    O2 deficiency
    H2S, CO
    SO2, HCN, NH3
    Benzene (C6H6)
Upstream Midstream

## Slide 46: Products and Market
  RKI Products
    GX-3R & GX-3R Pro advantages:
      Smallest & lightest available
      Ideal for workers wearing monitors in the breathing zone for entire shifts
      Bluetooth connectivity and toxic sensors for GX-3R Pro
    GX-6000 advantages:
      6 Gas channels
      5 operating modes
      Benzene specific PID
      Smart sensors with toxic and PID options
Oil & Gas Refining (downstream operations)
  Gases encountered:
    Combustibles
    O2 deficiency
    H2S, CO
    SO2, HCN, NH3
    Benzene (C6H6)

## Slide 47: Products and Market
  RKI Products
    GX-3R & GX-3R Pro advantages:
      Smallest & lightest available
      Bluetooth capability and toxic sensors for GX-3R Pro
    GX-2012 advantages:
      3 operating modes: Normal, leak check, and bar hole sampling
      Internal sample pump
      Ideal for pre-entry sampling of manholes
    Eagle 2 advantages:
      Special transformer testing configuration
Power Utilities
  Gases Encountered
    Combustibles
    O2 deficiency
    H2S, CO
    H2

## Slide 48: Products and Market
Manufacturing
  Gases Encountered
    Combustibles
    O2 deficiency
    H2S, CO
    Process gases like Carbon Dioxide, Ammonia
  RKI Products
    GX-3R & GX-3R Pro advantages:
      Smallest & lightest available
      Ideal for workers wearing monitors in the breathing zone for entire shifts
      Bluetooth connectivity and toxic sensors for GX-3R Pro
    GX-6000 advantages:
      6 Gas channels
      5 operating modes
    Fixed System Products
      Continuously monitor process gases

## Slide 49: Products and Market
Water & Waste Water
  Gases Encountered
    Combustibles
    O2 deficiency
    H2S, CO
    Ammonia, Chlorine, Ozone, Sulfur Dioxide, & VOC’s
  RKI Products
    GX-3R & GX-3R Pro advantages:
      Smallest & lightest available
      Ideal for workers wearing monitors in the breathing zone for entire shifts
      Bluetooth connectivity and toxic sensors for GX-3R Pro
    GX-6000 advantages:
      2 Smart sensor slots to monitor NH3, Cl2, SO2, & VOC’s
      6 Gas channels
    Fixed System Products
      High range H2S solutions for extreme environments

## Slide 50: Products and Market
Construction
  OSHA CFR 1926 –
    Confined Spaces in Construction
  Gases Encountered
    Combustibles
    O2 deficiency
    H2S, CO
  RKI Products
    GX-3R & GX-3R Pro advantages:
      Smallest & lightest available
      Ideal for workers wearing monitors in the breathing zone for entire shifts
      Man-down and panic alarms for GX-3R Pro
    GX-6000 advantages:
      Internal sample pump for pre-entry sampling
      PID sensors for VOC monitoring
      6 operating modes: Normal, leak check, and bar-hole sampling

## Slide 51: Products and Market
Landfill / Waste / Environmental
  Gases Encountered
    EPA Method 21
    CH4
    CO2
    Ammonia, Chlorine, Sulfur Dioxide, & NMOC’s & VOC’s
  RKI Products
    GX-6000 advantages:
      2 Smart sensor slots to monitor NH3, Cl2, SO2, & VOC’s
      6 Gas channels
      6 operating modes: Normal, leak check, and bar-hole sampling
    Eagle 2 advantages:
      6 Gas channels
      PPM, % LEL, or % Vol. auto-ranging combustible detection
      Infrared (IR) CO2, % LEL CH4, % Vol. CH4, % LEL HC, % Vol. HC
      Powerful long-life pump up to 125’ range

## Slide 52: Products and Market
Fire/First Responders
  Gases Encountered
    Combustibles
    O2 deficiency
    H2S, CO
    HCN, NH3, & VOC’s
  RKI Products
    CO-03:
      Clipped to gear bags, nuisance calls, Verify SCBA removal
    SC-04:
      Fire investigation or post-fire overhaul environments
    GX-3R & GX-3R Pro advantages:
      Stealth mode for law enforcement applications
      Man-down and panic alarms for GX-3R Pro
    GX-6000 advantages:
      Monitor low ppm levels of dangerous toxics like NH3 or H2S commonly found in meth labs
      Find trace levels of flammables or HCN in arson investigation
      Avoid HCN exposure in overhaul

## Slide 53: Products and Market
Food & Beverage
  Gases Encountered
    CO2
    Combustibles, O2 deficiency
    H2S, CO
    HCN, NH3, PH3
  RKI Products
    GX-3R & GX-3R Pro advantages:
      Smallest & lightest available
      Infrared CO2 sensors available for GX-3R Pro
    GX-6000 advantages:
      Monitor dangerous toxics like NH3, H2S, HCN or PH3
    Fixed System Products
      Continuously monitor for oxygen deficiency, NH3 refrigeration leaks, CO2 levels in beverage dispensing locations

## Slide 54: Products and Market
Chemical Manufacturing
  Gases Encountered
    Combustibles
    O2 deficiency
    H2S, CO
    Cl2, H2, HCl, NO2, SO2, VOC’s
  RKI Products
    GX-3R & GX-3R Pro advantages:
      Smallest & lightest available
      Ideal for workers wearing monitors in the breathing zone for entire shifts
      Bluetooth connectivity and toxic sensors for GX-3R Pro
    GX-6000 advantages:
      6 Gas channels
      5 operating modes
      2 Smart sensor slots to monitor NO2, Cl2, SO2, & VOC’s
    Fixed System Products
      Continuously monitor process gases

## Slide 55: Emerging Markets
Lithium Ion Battery
  UPS containers
  Li-Ion Manufacturing processes
Natural Gas Vehicle Maintenance locations
Increase CO2 regulations around beverage dispensing
Grain coops & storage facilities for rodent extermination – PH3 monitoring
Marijuana growing operations (CO2) & extraction facilities (LEL)
Li-Ion UPS containers
Natural Gas Vehicle Maintenance
CO2 Storage & Dispensing
Marijuana Growth & Extraction

## Slide 56: Common Gas Hazards by Industry
Industry | Hazard Gases | Portable Products
Oil & Gas | LEL, O2, H2S, CO, SO2, HCN, NH3, Benzene (C6H6) | GX-3R & GX-3R Pro, GX-2012, GX-6000, Eagle 2
Energy/Utilities | LEL, O2, H2S, CO, SO2, H2 | GX-3R & GX-3R Pro, GX-2012, Eagle 2
Construction | LEL, O2, H2S, CO, NO2 | GX-3R & GX-3R Pro, GX-2009 MSHA (for NO2), GX-6000
Water/Wastewater | LEL, O2, H2S, CO, NH3, Cl, O3, SO2, VOC’s | GX-3R & GX-3R Pro, GX-6000
Landfill/Waste | CH4, CO2, NH3, CL2, NMOC’s, VOC’s | GX-6000, Eagle 2
Fire/First Responders | LEL, O2, H2S, CO, HCN, NH3, VOC’s | CO-03, GX-3R & GX-3R Pro, GX-6000
Food and Beverage Production | LEL, O2, H2S, CO, HCN, NH3, CO2, PH3 | GX-3R & GX-3R Pro, GX-6000
Manufacturing | LEL, O2, H2S, CO, Process gases like CO2, NH3 | GX-3R & GX-3R Pro, GX-6000
Chemical | LEL, O2, H2S, CO, Cl2, H2, HCl, NO2, SO2, VOC’s | GX-3R & GX-3R Pro, GX-6000, Eagle 2

## Slide 57
Beacon 410A Controller
S2 Transmitter
M2A Transmitter
Remote Mount Sensor
with Cal Cup
Alarm Relays Activate Ventilation / Exhaust System
RKI’s diffusion style remote mount detectors allow for easy calibrations in difficult access areas
Direct Connect Sensor
Common Fixed System Components

## Slide 58
Direct Connect
S2 Transmitter
Cost Effective
Water repellent sensor coating
Explosion Proof
LEL, O2, H2S, CO CO2, & H2 available
Multi-gas versions
Internal sample pump with 100’ range
35-3001 Sample Draw
M2A Transmitter
T2A
Transmitters 4-20mA output
Explosion Proof
Stainless steel option
Stand Alone or with controller
OLED display
2 programmable alarm relays
Non intrusive calibration
4-20mA and Modbus outputs
2-wire transmitter
Electrochemical sensors
Explosion Proof
GD-70D
Smart Sample Draw
Wide range of plug & play sensors
Large LCD Display
Fixed Sensors and Transmitters
VOC Pro
4 PID sensor options
11.7 eV lamp with 6 month life span
Explosion Proof

## Slide 59: OX-600 and RI-600
Diffusion or remote sampling O2 and CO2 monitors Great for applications such as:
  Laboratories
  Cryogenic environments
  Liquid N2 storage rooms
  Warehouses
  Tunnels
  Parking garages
OX-600
O2 monitor
RI-600
CO2 monitor
Breweries
Storage tanks
Greenhouses
Continuous indoor air monitoring

## Slide 60
AirLink Wireless Solutions
Signal Meter
Wireless Controllers
Hybrid Controllers
Transmitters
Relay Modules
Interface/Receivers
Repeaters
900 MHz / 2.4 GHz communication
Battery or wire powered

## Slide 61
Turnkey Installation Solutions
Design, consultations, and engineering
Installation
Start-up
Training
System Maintenance

## Slide 62: Distributor Partnership Program
Stocking distributor: provide immediate delivery
  Increased sales
Service Center: provide immediate local instrument service, calibration and repair parts.
  Increased profits
Regional RKI Representatives provide ongoing product training and sales support.
  Increased confidence
RKI business culture is unlike any other gas detection manufacture in the industry. We provide the highest quality product, immediate and exceptional customer service and technical support (USA).
  Increased reliability
RKI believes in working with partner distributors to develop their markets by providing orders (not sales leads) from area end-users.
  Increased team loyalty and trust.

## Slide 63
RKI Regional Reps
CENTRAL & MICHIGAN
Dave McEndarffer
Cell: (913) 634-0396
NORTH WEST
John Foster
Cell: (509) 299-6777
Todd Rosencrans
Cell: (509) 299-6777
Jeremie Wise
Cell: (208) 659-2564
Justin. Wise
Cell: (208) 640-1564
Henry Dukart
Cell: (720) 301-1160 Stacie Hendrickson
Cell: (425) 299-2112
N. CALIFORNIA
Ramey Packer
Cell: (510) 285-7506
SOUTH WEST
Tammy Girton
Cell: (949) 397-5040
SOUTH CENTRAL
James Emmons
Cell: (214) 980-4002
GULF COAST
Rick Winship
Cell: (713) 205-1694
CENTRAL GREAT LAKES
John Maslowski
Cell: (262) 271-8956
SOUTH EAST
Todd Sauls
Cell: (770) 654-7443
MID ATLANTIC
Amy Dodson
Cell: (410) 253-8866
TRI-STATE
Nino Misiti
Cell: (610) 216-0393
NEW ENGLAND
Bob Carroll
Cell: (716) 725-3112

## Slide 64: Quantity Discounts
RKI is committed to supporting all of our Distributor Partners’ stocking needs with quantity based discounts. When you place an order for any Premier Portables that has one “ship to” location, the following discounts will automatically be applied based on the quantity ordered.

## Slide 65: Growth Rebate Partnership Program
In an effort to reward our distributor partners who are growing RKI's business, RKI offers a Growth Rebate Partnership Program. This program is designed to reward your organization with cash for sales growth achieved.
Growth Rebate Program
Growth Targets will be set based on previous year's sales, averaged on a quarterly basis • 10% growth earns a 3% payment on the growth achieved • 20% growth earns a 5% payment on the growth achieved
Eligibility for Growth Rebate requires exceeding the Year to Date Growth Target and will be evaluated at the end of each quarter
Quarterly growth rebate payments will be made within 30 days after each quarter
Growth Rebate Program Requirements
Must be a fully authorized RKI Distributor for a minimum of 12 months to participate
Distributor's credit account with RKI must be in good standing
Must have a minimum of $50,000 in sales within the prior year

## Slide 67: Questions?