## Slide 1: How to network SDM-2009’s
One Centralized data source

## Slide 2
Install SDM-GX Software
Instrument Shop

## Slide 3
USB
Connect up to 10 SDM-2009’s to the computer via USB cable
Instrument Shop

## Slide 4
USB
Instrument Shop
Click on the Config button and enter admin password

## Slide 5
USB
Instrument Shop
Click on the Database Tab

## Slide 6
USB
Instrument Shop
Click on the Create Button

## Slide 7
USB
Instrument Shop
Locate target network location for data file.

## Slide 8
USB
Instrument Shop
Enter database file name and save.

## Slide 9
Gas monitors
data file
Network
File Sharing Location
USB
Instrument Shop
Install the SDM-GX software for other locations

## Slide 10
Gas monitors
data file
Network
File Sharing Location
USB
Max 10 SDM modules
per computer
Instrument Shop
USB
Max 10 SDM modules
per computer
IH Office
Repeat the Config steps to enter the same Database Location

## Slide 11
Gas monitors
data file
Network
File Sharing Location
Safety
Manager
USB
Max 10 SDM modules
per computer
Instrument Shop
USB
Max 10 SDM modules
per computer
IH Office
Cal stations not needed to run software and see data file.