Gas Detection For Life

GX-2012

Hands-on Worksheet

Objective:

Carefully evaluate your GX-2012 and list below any problems you have found with the instrument and what would be required to bring the instrument back to proper working order.

1)	Instrument Serial Number:  ___________

2)	Sensor Date Codes:  LEL  _____, O2 _____, CO _____, H2S _____

3)	What is the voltage of the O2 sensor?  _______   Is it in spec?   (yes or no)

4)	Are any of the sensors under warranty?  __________________________ (List sensors that are still under warranty)

5)	Inspect the CO and LEL scrubbers.  Are they installed?  Yes/No  Are they in good condition?  Yes/No

6)	Calibrate all sensors using One Cal method.  What is the maximum span on LEL, CO and H2S for your unit?  LEL  ______    CO  ______  H2S  ______

7)	Calibrate your GX-2012 using Auto Cal method.

8)	What is the condition of the inlet filters?

9)	What is the flow rate of your pump?

10)	Check your low flow setting.  At what point does your instrument trip?  ______