Gas Detection For Life

Sensor Basics

Hands-on Worksheets

Objective:

To increase student’s ability to test, measure and troubleshoot various RKI gas sensors.

Tools Required:

Digital Multimeter

- Oxygen Sensors

  - Measure the output of an OS-BM2.  What is the voltage of the sensor you are testing?  __________

  - Is the sensor output in specification?  Yes ____  No ____

  - What is the date code of the sensor?  _______  Is your sensor under warranty?  Yes ____   No  ____

  - What is the recommended replacement of this sensor?  (see GL-0004) _________.

  - Measure the output of an OS-B3 sensor.  What is the voltage of the sensor you are testing?

  - Is the sensor output in specification?  Yes ____  No ____

  - What is the typical output range of this sensor?  ____________

  - What is the typical replacement recommendation of this sensor?  ________________.

- Combustible gas sensors

  - Measure the resistance of a good 61-0140RK as follows:

    - Resistance between White and Red:  _________ Ohms

    - Resistance between White and Black:  _________ Ohms

    - Resistance between Black and Red:  _________ Ohms

  - Measure the resistance of a damaged 61-0140RK:

    - Resistance between White and Red:  _________ Ohms

    - Resistance between White and Black:  _________ Ohms

    - Resistance between Black and Red:  _________ Ohms

  - How long does a catalytic bead sensor last (average?)

  - What is the most common poison of a catalytic bead gas sensor?

- Electrochemical H2S/CO sensors

  - Can the H2S/CO sensor be tested using an Ohmmeter?  Yes ____ No ____

  - What is the best way to test an H2S/CO gas sensor?  ______________________________________________________

  - What should you do if you see an H2S/CO sensor that is leaking electrolyte? _______________________________________________________

  - What is the electrolyte made of?  ____________________________

- Electrochemical SuperToxic Sensors

  - If the electrolyte on a SuperToxic gas sensor is cloudy or brown in color, should the sensor be replaced?

  - Why is it important that the SuperToxic gas sensor be on bias?  ________________________________________________________

  - What are some symptoms of a SuperToxic gas sensor that is not functioning properly?

    - _____________________

    - _____________________

    - _____________________

    - _____________________